DROUGHT MONITORING TASK FORCE

Drought Status Report

April 20, 2009

Statewide precipitation for the previous water year (October 1, 2007 through September 30, 2008) was in the normal range (85% of normal).  Statewide precipitation for the period from October 1, 2007 through March 15, 2009 was normal (88% of normal).  Precipitation greater than 85% of normal is considered to be in the normal range.  Statewide precipitation for the current water year (from October 1, 2008 through April 15, 2009) was below normal (78%), with below normal precipitation in the following drought evaluation areas: Middle James (75%), Northern Coastal Plain (73%), Northern Piedmont (69%), Roanoke (80%), Shenandoah (72%), and Upper James (77%).  Statewide precipitation from March 1st through April 15th has been above normal (101%), with all areas receiving precipiatation above 85% except for the Chowan.  The Upper James (83%) is the only drought evaluation region that has been below normal for a period which spans two water years (the period beginning October 1, 2007).  Appendix A contains precipitation tables for periods dating from October 1, 2007 provided by the Climatology Office of the University of Virginia and the Virginia Department of Environmental Quality.  The monthly climatologic outlook calls for above normal temperatures, and an equal chance of below normal, normal and above normal precipitation for the Commonwealth through the end of April of 2009.  The three month outlook calls for equal chances of below normal, normal and above normal temperatures for the Commonwealth through July 2009.

The latest NOAA drought monitor indicates that a majority of the state is now considered to be “abnormally dry”, with the northern portion of the state in a state of “moderate drought”.  The drought monitor is included as Appendix B.  Appendix C contains information from the national drought monitor with only Virginia displayed.  The Seasonal Drought Outlook for the United States calls for improvement in the norther portion of the state from now through July 2009 (see Appendix D).

While the Virginia Department of Health has not reported any impacts to public water supplies that have compromised their ability to provide the needs of their customers’, 24 systems (down from 25 systems in March 2009) are under voluntary water conservation requirements and 3 systems are under mandatory water conservation requirementsOf the 67 systems listed in the VDH report, 14 have been rated as having a “Better” overall water supply situation, and one system reporting a “Worse” situation.  Appendix E contains a table of waterworks from this months report, which includes systems that are under water conservation requirements.

The Virginia Department of Forestry reports a light fire spring fire season with a total of 702 fires with 116 acres burned to date.

The Department of Game and Inland Fisheries reports that recreational fishing and boating are not currently being impacted. With state reservoirs full, having normal reservoir releases has improved recreational opportunities. If rainfall continues, a good spawning season could be produced.

Reports from the Climatology Office of the University of Virginia, the National Weather Service, the Virginia Department of Environmental Quality, the United States Geological Survey, and the Virginia Department of Agriculture and Consumer Services, follow.

Report of the Climatology Office of the University of Virginia

The widespread rains of early April have done relatively little to abate the winter precipitation shortfalls.  Over the colder period of the year, all Drought Regions have fallen well short of normal precipitation and few picked up more than 70% of normal.

The accompanying graph shows the relative headway each region has made during the colder season against the rainfall deficits accrued during the previous growing season.  This illustrates that no region has regained the normally expected amount of its deficits. No region has, therefore, achieved any surplus.  The analysis clearly identifies those regions which are likely to show greater or lesser problems with longer–term moisture.  Though all but one suggest a clear potential for difficulties.

For most of Virginia, the growing season has effectively begun and opportunities to make up deficits are rapidly vanishing.  Rising temperatures and water uptake by plants will quickly overtake even normal precipitation amounts.  Therefore, the probability is very high that current deficits will be carried forward and augmented through the growing season.

Report of the National Weather Service

Since last Tuesday's call, we have had 2 precipitation events on the Commonwealth. The heaviest rainfall from both of these events occurred in northern Virginia, although the remainder of the state received widespread beneficial rainfall from both of these events. These events have eased the short-term moisture concerns across Virginia. However, it appears the next 10 days to 2 weeks will generally be dry with above normal temperatures, as a summer-like pattern takes hold. Thus, the surface soil moisture should dry out significantly during that time. The latest 30 day outlook for May, and the 90 day May through July outlooks show no tendency for either above/below temperatures or precipitation.

United States Geological Survey

Streamflow and Ground Water Levels

Periodic rainfall has kept most streams in the normal to just below normal range of flows for the past several weeks except for areas of the Shenandoah and York River Basins where many of the gages are recording discharges below to well below normal.  Between precipitation events, discharges at most gages throughout the State are receding at rates greater than normal.  The rapid recession of streamflow is an indication that ground-water storage is low.  The severe drought conditions in the Meherrin River Basin is probably because of equipment malfunction and drought conditions in the basin should be in the below normal range.

Ground-water levels are varied across the State but less varied in the southeast where levels are generally in the normal range.  In the rest of the State levels range from much below normal to normal, often with little distance between wells with the most variability.  An example is shown on the ground-water map in the central Piedmont, Blue Ridge, and Valley and Ridge Physiographic Provinces.  One explanation is that recent precipitation amounts were not uniform in the area.  Most of the wells appear to be at or near their highest level and have begun their spring recession.

Virginia Department of Environmental Quality

Condition of Major Reservoirs

Consistent rainfall and relatively cool temperatures have resulted in substantial inflows to the major reservoirs in Virginia.  As a result, alll major reservoirs in the Commonwealth are now full.

Virginia Department of Agriculture and Consumer Services

Status of Agricultural Drought

According to the USDA Crop Weather Report released on April 13, 2009, 90% of topsoil moisture ranged from adequate to surplus.  Continued rain showers were welcomed across the state and pastures and hayfields are showing significant improvement with new growth.  Cooler temperatures have also taken a toll on local strawberry crops and led many farmers to utilize irrigation and fungicides to protect the crop from frost damage.  Corn planting got underway in areas where fields were dry enough, and preparations such as fertilizer application and burn down were taking place in anticipation of planting when the fields dry up.  Throughout much of the state, small grains continue to develop on schedule, and wheat fields have benefitted from recent precipitation and Nitrogen applications. Other farm activities include field scouting of small grains, preparing for vegetable planting and transplanting, and spray down or harvesting of ryegrass fields.

Impact on Dairies:

The majority of Virginia’s dairymen are still utilizing stored fodder from last year, and production costs remain high compared to milk prices.  All areas of the state report adequate moisture at this time and good crops of small grains nearing harvest.  General consensus is that there is adequate surface moisture to get through spring planting, but Virginia will need continuing rain this summer to avoid drought conditions later on.

Nursery/Horticulture:

The horticulture industry does not have any drought updates at this time since the spring growing season is just getting underway.

Impact on Crops:

Small grain cover crops are reported to be doing well across the state.  Warmer weather and windy conditions have largely eliminated muddy conditions and allowed for the resumption of fieldwork.  Though precipitation in the Shenandoah Valley is reported to be seven inches below average thus far for 2009, adequate winter precipitation across the remainder of the state has farmers optimistic about summer crops.

Impact on Creeks, Rivers, and Wells:

Groundwater supplies and farm ponds remain low in northwest Virginia, though creeks and rivers are running well due to recent rain.  Elsewhere, water levels are increasing in lakes, streams, and rivers.

Impact on Livestock

Pastures are in poor condition in northwest Virginia due to lower than average precipitation and close grazing over winter.  Remaining stocks of stored fodder are of poor quality due to last year’s drought.  Elsewhere, spring grass growth has greened pastures and farmers are placing cattle on pastures (though often still supplementing feed).  Livestock markets are reporting strong cattle numbers, and the majority of cattle are well-fleshed.  Trade in culled beef cattle remains strong.

##### APPENDIX A

Precipitation departures by Drought Evaluation Region.

|  | PRELIMINARY PRECIPITATION SUMMARY |  | Prepared: |
| --- | --- | --- | --- |
|  |  |  |  |  | 4/20/09 |
|  | DROUGHT |  | Apr 1, 2009 | - Apr 15, 2009 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 2.07 | 1.88 | 0.19 | 110% |
| 2 | New River | 1.65 | 1.78 | -0.12 | 93% |
| 3 | Roanoke | 2.12 | 1.90 | 0.22 | 112% |
| 4 | Upper James | 1.85 | 1.70 | 0.15 | 109% |
| 5 | Middle James | 1.76 | 1.67 | 0.09 | 105% |
| 6 | Shenandoah | 1.65 | 1.46 | 0.19 | 113% |
| 7 | Northern Virginia | 2.15 | 1.65 | 0.50 | 130% |
| 8 | Northern Piedmont | 1.96 | 1.65 | 0.32 | 119% |
| 9 | Chowan | 1.39 | 1.72 | -0.32 | 81% |
| 10 | Northern Coastal Plain | 1.42 | 1.55 | -0.13 | 92% |
| 11 | York-James | 2.65 | 1.65 | 1.00 | 161% |
| 12 | Southeast Virginia | 1.82 | 1.63 | 0.19 | 112% |
| 13 | Eastern Shore | 1.64 | 1.46 | 0.18 | 112% |
|  | Statewide | 1.83 | 1.71 | 0.12 | 107% |

|  | DROUGHT |  | Mar 1, 2009 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 5.97 | 6.13 | -0.16 | 97% |
| 2 | New River | 6.03 | 5.45 | 0.58 | 111% |
| 3 | Roanoke | 6.35 | 6.17 | 0.18 | 103% |
| 4 | Upper James | 5.36 | 5.49 | -0.13 | 98% |
| 5 | Middle James | 5.68 | 5.73 | -0.05 | 99% |
| 6 | Shenandoah | 3.53 | 4.66 | -1.13 | 76% |
| 7 | Northern Virginia | 4.72 | 5.31 | -0.59 | 89% |
| 8 | Northern Piedmont | 5.60 | 5.46 | 0.14 | 103% |
| 9 | Chowan | 6.88 | 6.09 | 0.80 | 113% |
| 10 | Northern Coastal Plain | 5.71 | 5.83 | -0.12 | 98% |
| 11 | York-James | 7.62 | 6.34 | 1.28 | 120% |
| 12 | Southeast Virginia | 7.64 | 5.83 | 1.81 | 131% |
| 13 | Eastern Shore | 6.29 | 5.77 | 0.52 | 109% |
|  | Statewide | 5.80 | 5.75 | 0.05 | 101% |

|  | DROUGHT |  | Feb 1, 2009 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 7.67 | 9.71 | -2.04 | 79% |
| 2 | New River | 7.16 | 8.38 | -1.22 | 85% |
| 3 | Roanoke | 7.25 | 9.48 | -2.23 | 76% |
| 4 | Upper James | 6.22 | 8.34 | -2.12 | 75% |
| 5 | Middle James | 6.31 | 8.85 | -2.54 | 71% |
| 6 | Shenandoah | 4.33 | 7.07 | -2.74 | 61% |
| 7 | Northern Virginia | 5.16 | 7.98 | -2.82 | 65% |
| 8 | Northern Piedmont | 6.07 | 8.43 | -2.36 | 72% |
| 9 | Chowan | 7.74 | 9.26 | -1.52 | 84% |
| 10 | Northern Coastal Plain | 6.00 | 8.97 | -2.97 | 67% |
| 11 | York-James | 8.67 | 9.87 | -1.20 | 88% |
| 12 | Southeast Virginia | 8.63 | 9.33 | -0.70 | 93% |
| 13 | Eastern Shore | 6.63 | 8.96 | -2.33 | 74% |
|  | Statewide | 6.64 | 8.88 | -2.24 | 75% |

|  | DROUGHT |  | Jan 1, 2009 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 12.62 | 13.44 | -0.82 | 94% |
| 2 | New River | 10.68 | 11.59 | -0.91 | 92% |
| 3 | Roanoke | 10.51 | 13.40 | -2.89 | 78% |
| 4 | Upper James | 9.00 | 11.62 | -2.62 | 77% |
| 5 | Middle James | 8.52 | 12.51 | -3.99 | 68% |
| 6 | Shenandoah | 6.43 | 9.92 | -3.49 | 65% |
| 7 | Northern Virginia | 7.53 | 11.26 | -3.73 | 67% |
| 8 | Northern Piedmont | 8.23 | 11.95 | -3.72 | 69% |
| 9 | Chowan | 9.84 | 13.37 | -3.53 | 74% |
| 10 | Northern Coastal Plain | 8.38 | 12.72 | -4.34 | 66% |
| 11 | York-James | 10.37 | 14.01 | -3.64 | 74% |
| 12 | Southeast Virginia | 10.25 | 13.49 | -3.23 | 76% |
| 13 | Eastern Shore | 8.46 | 12.52 | -4.06 | 68% |
|  | Statewide | 9.40 | 12.52 | -3.12 | 75% |

|  | DROUGHT |  | Dec 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 17.44 | 17.08 | 0.36 | 102% |
| 2 | New River | 14.03 | 14.30 | -0.27 | 98% |
| 3 | Roanoke | 14.24 | 16.65 | -2.41 | 86% |
| 4 | Upper James | 12.45 | 14.57 | -2.12 | 85% |
| 5 | Middle James | 12.46 | 15.68 | -3.22 | 79% |
| 6 | Shenandoah | 10.06 | 12.51 | -2.45 | 80% |
| 7 | Northern Virginia | 10.53 | 14.36 | -3.83 | 73% |
| 8 | Northern Piedmont | 11.80 | 15.23 | -3.43 | 77% |
| 9 | Chowan | 13.71 | 16.39 | -2.68 | 84% |
| 10 | Northern Coastal Plain | 11.34 | 16.00 | -4.66 | 71% |
| 11 | York-James | 14.47 | 17.40 | -2.93 | 83% |
| 12 | Southeast Virginia | 14.08 | 16.67 | -2.58 | 85% |
| 13 | Eastern Shore | 13.61 | 15.76 | -2.15 | 86% |
|  | Statewide | 13.17 | 15.64 | -2.47 | 84% |

|  | DROUGHT |  | Nov 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 19.99 | 20.36 | -0.37 | 98% |
| 2 | New River | 15.70 | 17.33 | -1.63 | 91% |
| 3 | Roanoke | 17.23 | 20.01 | -2.78 | 86% |
| 4 | Upper James | 14.87 | 17.93 | -3.06 | 83% |
| 5 | Middle James | 15.57 | 19.19 | -3.62 | 81% |
| 6 | Shenandoah | 11.95 | 15.56 | -3.61 | 77% |
| 7 | Northern Virginia | 12.61 | 17.77 | -5.16 | 71% |
| 8 | Northern Piedmont | 14.16 | 19.03 | -4.87 | 74% |
| 9 | Chowan | 16.95 | 19.50 | -2.55 | 87% |
| 10 | Northern Coastal Plain | 14.94 | 19.14 | -4.20 | 78% |
| 11 | York-James | 18.83 | 20.77 | -1.94 | 91% |
| 12 | Southeast Virginia | 19.05 | 19.74 | -0.68 | 97% |
| 13 | Eastern Shore | 18.33 | 18.70 | -0.37 | 98% |
|  | Statewide | 15.98 | 18.87 | -2.89 | 85% |

|  | DROUGHT |  | Oct 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 21.77 | 23.24 | -1.47 | 94% |
| 2 | New River | 16.89 | 20.50 | -3.60 | 82% |
| 3 | Roanoke | 19.01 | 23.72 | -4.71 | 80% |
| 4 | Upper James | 16.27 | 21.18 | -4.91 | 77% |
| 5 | Middle James | 17.16 | 23.03 | -5.87 | 75% |
| 6 | Shenandoah | 13.58 | 18.75 | -5.17 | 72% |
| 7 | Northern Virginia | 14.08 | 21.25 | -7.17 | 66% |
| 8 | Northern Piedmont | 15.80 | 23.02 | -7.21 | 69% |
| 9 | Chowan | 18.39 | 23.08 | -4.68 | 80% |
| 10 | Northern Coastal Plain | 16.48 | 22.65 | -6.17 | 73% |
| 11 | York-James | 20.53 | 24.30 | -3.78 | 84% |
| 12 | Southeast Virginia | 20.54 | 23.40 | -2.85 | 88% |
| 13 | Eastern Shore | 19.44 | 21.91 | -2.47 | 89% |
|  | Statewide | 17.55 | 22.37 | -4.82 | 78% |

|  | DROUGHT |  | Sep 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 23.84 | 26.70 | -2.86 | 89% |
| 2 | New River | 19.43 | 23.91 | -4.47 | 81% |
| 3 | Roanoke | 23.35 | 27.95 | -4.60 | 84% |
| 4 | Upper James | 18.41 | 24.68 | -6.27 | 75% |
| 5 | Middle James | 22.37 | 27.16 | -4.79 | 82% |
| 6 | Shenandoah | 17.32 | 22.42 | -5.10 | 77% |
| 7 | Northern Virginia | 19.84 | 25.32 | -5.48 | 78% |
| 8 | Northern Piedmont | 21.12 | 27.30 | -6.18 | 77% |
| 9 | Chowan | 25.01 | 27.51 | -2.50 | 91% |
| 10 | Northern Coastal Plain | 21.53 | 26.74 | -5.20 | 81% |
| 11 | York-James | 26.45 | 29.20 | -2.76 | 91% |
| 12 | Southeast Virginia | 28.28 | 27.83 | 0.46 | 102% |
| 13 | Eastern Shore | 23.55 | 25.52 | -1.97 | 92% |
|  | Statewide | 21.97 | 26.37 | -4.40 | 83% |

|  | DROUGHT |  | Aug 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 27.92 | 30.53 | -2.61 | 91% |
| 2 | New River | 23.90 | 27.22 | -3.31 | 88% |
| 3 | Roanoke | 27.99 | 31.67 | -3.68 | 88% |
| 4 | Upper James | 22.50 | 28.01 | -5.51 | 80% |
| 5 | Middle James | 27.16 | 30.98 | -3.82 | 88% |
| 6 | Shenandoah | 20.84 | 25.75 | -4.91 | 81% |
| 7 | Northern Virginia | 21.89 | 29.17 | -7.28 | 75% |
| 8 | Northern Piedmont | 24.21 | 31.12 | -6.90 | 78% |
| 9 | Chowan | 28.03 | 31.82 | -3.79 | 88% |
| 10 | Northern Coastal Plain | 23.84 | 30.60 | -6.75 | 78% |
| 11 | York-James | 29.09 | 34.07 | -4.99 | 85% |
| 12 | Southeast Virginia | 30.51 | 32.95 | -2.43 | 93% |
| 13 | Eastern Shore | 26.47 | 29.39 | -2.92 | 90% |
|  | Statewide | 25.72 | 30.20 | -4.48 | 85% |

|  | DROUGHT |  | Jul 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 32.64 | 35.01 | -2.37 | 93% |
| 2 | New River | 27.83 | 31.01 | -3.17 | 90% |
| 3 | Roanoke | 31.42 | 36.06 | -4.64 | 87% |
| 4 | Upper James | 26.60 | 32.05 | -5.45 | 83% |
| 5 | Middle James | 31.00 | 35.39 | -4.39 | 88% |
| 6 | Shenandoah | 25.15 | 29.51 | -4.36 | 85% |
| 7 | Northern Virginia | 24.85 | 32.94 | -8.09 | 75% |
| 8 | Northern Piedmont | 28.06 | 35.52 | -7.46 | 79% |
| 9 | Chowan | 31.45 | 36.33 | -4.87 | 87% |
| 10 | Northern Coastal Plain | 27.36 | 35.05 | -7.69 | 78% |
| 11 | York-James | 32.80 | 39.17 | -6.37 | 84% |
| 12 | Southeast Virginia | 36.20 | 38.02 | -1.82 | 95% |
| 13 | Eastern Shore | 30.37 | 33.39 | -3.02 | 91% |
|  | Statewide | 29.62 | 34.54 | -4.92 | 86% |

|  | DROUGHT |  | Jun 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 36.18 | 39.15 | -2.97 | 92% |
| 2 | New River | 30.31 | 34.86 | -4.55 | 87% |
| 3 | Roanoke | 34.33 | 39.95 | -5.62 | 86% |
| 4 | Upper James | 29.19 | 35.76 | -6.57 | 82% |
| 5 | Middle James | 33.11 | 38.90 | -5.79 | 85% |
| 6 | Shenandoah | 29.04 | 33.22 | -4.18 | 87% |
| 7 | Northern Virginia | 29.49 | 36.80 | -7.31 | 80% |
| 8 | Northern Piedmont | 33.31 | 39.53 | -6.21 | 84% |
| 9 | Chowan | 33.17 | 39.98 | -6.80 | 83% |
| 10 | Northern Coastal Plain | 31.79 | 38.61 | -6.81 | 82% |
| 11 | York-James | 34.93 | 42.58 | -7.65 | 82% |
| 12 | Southeast Virginia | 38.10 | 41.63 | -3.52 | 92% |
| 13 | Eastern Shore | 34.93 | 36.37 | -1.44 | 96% |
|  | Statewide | 32.72 | 38.33 | -5.61 | 85% |

|  | DROUGHT |  | May 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 38.76 | 43.97 | -5.21 | 88% |
| 2 | New River | 32.88 | 39.07 | -6.18 | 84% |
| 3 | Roanoke | 38.17 | 44.28 | -6.11 | 86% |
| 4 | Upper James | 32.56 | 40.04 | -7.48 | 81% |
| 5 | Middle James | 37.34 | 43.14 | -5.80 | 87% |
| 6 | Shenandoah | 33.57 | 37.06 | -3.49 | 91% |
| 7 | Northern Virginia | 37.94 | 41.14 | -3.20 | 92% |
| 8 | Northern Piedmont | 39.50 | 43.75 | -4.24 | 90% |
| 9 | Chowan | 36.57 | 44.07 | -7.49 | 83% |
| 10 | Northern Coastal Plain | 38.04 | 42.77 | -4.72 | 89% |
| 11 | York-James | 37.70 | 46.85 | -9.15 | 80% |
| 12 | Southeast Virginia | 41.88 | 45.49 | -3.60 | 92% |
| 13 | Eastern Shore | 40.23 | 39.89 | 0.34 | 101% |
|  | Statewide | 36.93 | 42.59 | -5.66 | 87% |

|  | DROUGHT |  | Apr 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 43.08 | 47.73 | -4.65 | 90% |
| 2 | New River | 37.67 | 42.62 | -4.94 | 88% |
| 3 | Roanoke | 43.57 | 48.08 | -4.51 | 91% |
| 4 | Upper James | 37.39 | 43.44 | -6.05 | 86% |
| 5 | Middle James | 43.53 | 46.48 | -2.95 | 94% |
| 6 | Shenandoah | 38.97 | 39.98 | -1.01 | 97% |
| 7 | Northern Virginia | 43.61 | 44.44 | -0.83 | 98% |
| 8 | Northern Piedmont | 45.52 | 47.04 | -1.51 | 97% |
| 9 | Chowan | 43.78 | 47.50 | -3.72 | 92% |
| 10 | Northern Coastal Plain | 44.00 | 45.86 | -1.85 | 96% |
| 11 | York-James | 44.01 | 50.15 | -6.15 | 88% |
| 12 | Southeast Virginia | 48.56 | 48.74 | -0.17 | 100% |
| 13 | Eastern Shore | 44.66 | 42.81 | 1.85 | 104% |
|  | Statewide | 42.56 | 46.01 | -3.45 | 92% |

|  | DROUGHT |  | Mar 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 47.45 | 51.98 | -4.53 | 91% |
| 2 | New River | 40.31 | 46.29 | -5.98 | 87% |
| 3 | Roanoke | 46.77 | 52.35 | -5.58 | 89% |
| 4 | Upper James | 40.21 | 47.23 | -7.02 | 85% |
| 5 | Middle James | 46.83 | 50.54 | -3.71 | 93% |
| 6 | Shenandoah | 41.77 | 43.18 | -1.41 | 97% |
| 7 | Northern Virginia | 46.04 | 48.10 | -2.06 | 96% |
| 8 | Northern Piedmont | 48.62 | 50.85 | -2.22 | 96% |
| 9 | Chowan | 47.69 | 51.87 | -4.17 | 92% |
| 10 | Northern Coastal Plain | 46.48 | 50.14 | -3.65 | 93% |
| 11 | York-James | 47.84 | 54.84 | -7.00 | 87% |
| 12 | Southeast Virginia | 51.49 | 52.94 | -1.44 | 97% |
| 13 | Eastern Shore | 46.44 | 47.12 | -0.68 | 99% |
|  | Statewide | 45.74 | 50.05 | -4.31 | 91% |

|  | DROUGHT |  | Feb 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 50.65 | 55.56 | -4.91 | 91% |
| 2 | New River | 42.32 | 49.22 | -6.89 | 86% |
| 3 | Roanoke | 49.06 | 55.66 | -6.60 | 88% |
| 4 | Upper James | 42.42 | 50.08 | -7.66 | 85% |
| 5 | Middle James | 49.47 | 53.66 | -4.19 | 92% |
| 6 | Shenandoah | 44.07 | 45.59 | -1.52 | 97% |
| 7 | Northern Virginia | 48.83 | 50.77 | -1.94 | 96% |
| 8 | Northern Piedmont | 51.26 | 53.82 | -2.55 | 95% |
| 9 | Chowan | 50.54 | 55.04 | -4.50 | 92% |
| 10 | Northern Coastal Plain | 49.05 | 53.28 | -4.23 | 92% |
| 11 | York-James | 51.15 | 58.37 | -7.22 | 88% |
| 12 | Southeast Virginia | 55.62 | 56.44 | -0.82 | 99% |
| 13 | Eastern Shore | 49.74 | 50.31 | -0.57 | 99% |
|  | Statewide | 48.37 | 53.18 | -4.81 | 91% |

|  | DROUGHT |  | Jan 1, 2008 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 53.63 | 59.29 | -5.66 | 90% |
| 2 | New River | 43.60 | 52.43 | -8.83 | 83% |
| 3 | Roanoke | 49.95 | 59.58 | -9.63 | 84% |
| 4 | Upper James | 44.06 | 53.36 | -9.30 | 83% |
| 5 | Middle James | 50.53 | 57.32 | -6.79 | 88% |
| 6 | Shenandoah | 45.08 | 48.44 | -3.36 | 93% |
| 7 | Northern Virginia | 50.04 | 54.05 | -4.01 | 93% |
| 8 | Northern Piedmont | 52.33 | 57.34 | -5.01 | 91% |
| 9 | Chowan | 51.61 | 59.15 | -7.54 | 87% |
| 10 | Northern Coastal Plain | 50.21 | 57.03 | -6.82 | 88% |
| 11 | York-James | 53.85 | 62.51 | -8.66 | 86% |
| 12 | Southeast Virginia | 57.03 | 60.60 | -3.57 | 94% |
| 13 | Eastern Shore | 51.68 | 53.87 | -2.19 | 96% |
|  | Statewide | 49.74 | 56.82 | -7.08 | 88% |

|  | DROUGHT |  | Dec 1, 2007 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 56.92 | 62.93 | -6.01 | 90% |
| 2 | New River | 46.20 | 55.14 | -8.94 | 84% |
| 3 | Roanoke | 53.25 | 62.83 | -9.58 | 85% |
| 4 | Upper James | 47.36 | 56.31 | -8.95 | 84% |
| 5 | Middle James | 53.73 | 60.49 | -6.76 | 89% |
| 6 | Shenandoah | 48.11 | 51.03 | -2.92 | 94% |
| 7 | Northern Virginia | 53.02 | 57.15 | -4.13 | 93% |
| 8 | Northern Piedmont | 55.68 | 60.62 | -4.93 | 92% |
| 9 | Chowan | 55.86 | 62.17 | -6.30 | 90% |
| 10 | Northern Coastal Plain | 53.32 | 60.31 | -6.98 | 88% |
| 11 | York-James | 57.96 | 65.90 | -7.94 | 88% |
| 12 | Southeast Virginia | 60.87 | 63.78 | -2.90 | 95% |
| 13 | Eastern Shore | 56.37 | 57.11 | -0.74 | 99% |
|  | Statewide | 53.07 | 59.94 | -6.87 | 89% |

|  | DROUGHT |  | Nov 1, 2007 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 59.10 | 66.21 | -7.11 | 89% |
| 2 | New River | 46.76 | 58.17 | -11.40 | 80% |
| 3 | Roanoke | 53.81 | 66.19 | -12.38 | 81% |
| 4 | Upper James | 48.38 | 59.67 | -11.29 | 81% |
| 5 | Middle James | 54.40 | 64.00 | -9.60 | 85% |
| 6 | Shenandoah | 49.48 | 54.08 | -4.60 | 92% |
| 7 | Northern Virginia | 54.52 | 60.56 | -6.04 | 90% |
| 8 | Northern Piedmont | 56.89 | 64.42 | -7.52 | 88% |
| 9 | Chowan | 56.49 | 65.28 | -8.78 | 87% |
| 10 | Northern Coastal Plain | 54.60 | 63.45 | -8.85 | 86% |
| 11 | York-James | 58.76 | 69.27 | -10.51 | 85% |
| 12 | Southeast Virginia | 61.44 | 66.85 | -5.41 | 92% |
| 13 | Eastern Shore | 57.39 | 60.05 | -2.66 | 96% |
|  | Statewide | 54.08 | 63.17 | -9.09 | 86% |

|  | DROUGHT |  | Oct 1, 2007 | - Apr 15, 2009 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 61.78 | 69.09 | -7.31 | 89% |
| 2 | New River | 52.88 | 61.34 | -8.46 | 86% |
| 3 | Roanoke | 59.55 | 69.90 | -10.35 | 85% |
| 4 | Upper James | 52.42 | 62.92 | -10.50 | 83% |
| 5 | Middle James | 59.39 | 67.84 | -8.45 | 88% |
| 6 | Shenandoah | 52.91 | 57.27 | -4.36 | 92% |
| 7 | Northern Virginia | 58.75 | 64.04 | -5.29 | 92% |
| 8 | Northern Piedmont | 61.38 | 68.41 | -7.03 | 90% |
| 9 | Chowan | 61.33 | 68.86 | -7.52 | 89% |
| 10 | Northern Coastal Plain | 59.52 | 66.96 | -7.44 | 89% |
| 11 | York-James | 63.29 | 72.80 | -9.51 | 87% |
| 12 | Southeast Virginia | 66.60 | 70.51 | -3.90 | 94% |
| 13 | Eastern Shore | 61.07 | 63.26 | -2.19 | 97% |
|  | Statewide | 58.70 | 66.67 | -7.97 | 88% |

##### APPENDIX B

APPENDIX C

APPENDIX D

APPENDIX E

Condition of Public Water Supplies

March 13, 2009

| ODW Drought Situation Report |  |  | Restriction totals |  |
| --- | --- | --- | --- | --- |
| Date: | 4/13/09 |  | Mandatory | 3 |  |
|  |  |  | Voluntary | 24 |  |
|  |  |  | Total | 27 |  |
|  |  |  | N-None | B-Better |  |
|  |  |  | M-Mandatory | S-Stable/Same |  |
|  |  |  | V-Voluntary | W-Worse |  |
| PWSID | Waterworks | Source Name | Restrictions | Situation | Population Served |
| 2023720 | Town of Troutville | Five Drilled Wells | N | S - Town reported the pumping rate of their No. 3 well dropped from 123 gpm to 40 gpm. The pumping rates of the other four wells are the same. | 500 |
| 2065250 | Fluvanna Correctional Center for Women | Mechunk Creek and on-site Raw Water Reservoir | V | B - Reservoir is full. Water restrictions will continue however to conserve water. | 1,650 |
| 2660345 | City of Harrisonburg | North River, Dry River/Switzer Reservoir (Rawley Springs) | V | S - Voluntary conservation has been requested. This has not been implemented as a result of limited low source water quantity, but rather at the request of the Governor's letter requesting conservation. | 44,500 |
| 3053280 | DCWA Central (Dinwiddie County) | Appomattox River Water Authority (ARWA) | V | S - 04/06/09 - Voluntary restrictions began on 7/29/08. | 6,800 |
| 3081550 | GCWSA - Jarratt | Nottoway River | N | S - 04/06/09 - Waterworks production rate reduced due to lower demand; river level sufficient to allow plant operation at 2.0 mgd. | 7,190 |
| 3093120 | Isle of Wight County | Suffolk | V | B - 04/06/09 - Obtains water from Suffolk. Follows Suffolk's lead on conservation. | 1,284 |
| 3550050 | Chesapeake - Western Branch system | City of Portsmouth | V | S -04/06/09 This portion of the city is consecutive to (receives water from) the city of Portsmouth. City Council voted to go to voluntary conservation city-wide - it took effect on 24 Oct 2007. Still following Portsmouth's lead on conservation. | 36,444 |
| 3550051 | Chesapeake | Northwest River, City of Norfolk Raw Water (Lake Gaston) | V | B - 04/06/09 City Council voted to go to voluntary conservation city-wide - took effect on 24 Oct 2007. Continuing to follow Portsmouth's lead. Chlorides are used as an indicator of drought, the higher the levels the more concentrated the contaminant in a lesser amount of surface water. The chlorides average 55 mg/l for March 2009. Average rainfall levels for March 2009 3.62 inches. | 102,095 |
| 3550052 | Chesapeake - South Norfolk system | City of Norfolk | V | S -04/06/09-This portion of the city is consecutive to (receives water from) the city of Norfolk. City Council voted to go to voluntary conservation city-wide - it took effect on 24 Oct 2007. Still following Norfolk's lead on conservation. | 38,611 |
| 3570150 | Colonial Heights | ARWA | V | S - 04/06/09 - Lifted mandatory restrictions on 12/1/07. Voluntary restrictions currently in place. | 17,286 |
| 3595250 | Emporia | Meherrin River | N | S - 04/06/09 - Water flowing over dam, reservoir level sufficient for normal operation. | 5,600 |
| 3670800 | Virginia-American Water Company (Hopewell) | Appomattox & James Rivers | N | S - 04/06/2009 - Level at intakes still sufficient to supply plant. Year-to-date rainfall down about 2.5" and turbidity has increased. | 25000 - Primary / 42463 Total including Consecutive System (Ft. Lee) |
| 3700500 | Newport News | Chickahomony River, Skiffs Creek, Diascand, Little Creek, Harwoods Mill, Lee Hall | N | B -- 04/09/09 - Total reservior capacity at 98.3%. Up from last report. | 406,000 |
| 3710100 | Norfolk | Lake Prince, Lake Burnt Mills, Western Branch reservoir, Nottoway River, Blackwater River, 4 western wells; Little Creek reservoir, Lakes Smith, Lawson, Whitehurst, and Wright. Lake Gaston. | V | B - As of 04/06/09, reservoirs at 98.5% (up from 91.2% on 03/10). Historic reservoir capacity is 95.5% at this time of year. Current Avg. pumping from Lake Gaston = 7.5 MGD. Called for voluntary conservation 11/1/07. | 261,250 - Primary / 755,617 - Total including consecutive systems (Va Beach + military bases). |
| 3740600 | Portsmouth | Lakes Cohoon, Meade, Kilby, and Speights Run | V | B - As of 04/10/09, reservoirs at 100% (also at 100% on 03/06). Median reservoir capacity is 100% for the month and historical average capacity is 99% (period of 1969-2008). The emergency wells are off. Called for voluntary conservation on 10/10/07. | 100,400 - Primary / 120,400 Total including consecutive systems (military bases) |
| 3800805 | Suffolk | Lone Star Lakes, Cumps Mill Pond | V | B -04/06/09-Will follow Portsmouth's lead and the region as far as conservation. Average reservoir levels: Southern Lakes at 68% capacity, for the Northern Lakes at 94% and Crumps Mill Pond at 100.1% The Southern Lakes are for emergency use only. Overall they are at 86.1% capacity for the reservoirs for the period (January 2009-March 2009). Operator states that for the same time period last year (January-March 2008) the overall capacities for the reservoirs was 75.3 %.Still purchasing water from Portsmouth per their contract, no drought measure taken to date. | 62,562 |
| 3810900 | Virginia Beach | Norfolk | V | B - 04/06/09 - Obtains water from Norfolk. Called for voluntary conservation on 9/19/07. | 423,743 |
| 3830850 | Williamsburg | Waller Mill Reservoir | N | B - 04/13/09 - Estimated at 99% usable capacity. Currently at 1.5 inches below spillway. | 16,400 |
| 4041035 | APPOMATTOX RIVER WATER AUTHORITY | Surface water; Lake Chesdin | N | S- Wholesaler to Chesterfield County, Prince George County, Dinwiddie County; Cities of Petersburg and Colonial Heights. Reservoir is at full level. | 200,000 |
| 4041845 | CHESTERFIELD CO CENTRAL WATER SYSTEM | Surface water; Swift Creek reservoir; purchases finished water | N | S- Purchases water from the City of Richmond and the Appomattox River Water Authority. Reservoir is at full level. | 286,000 |
| 4057800 | TAPPAHANNOCK, TOWN OF | Groundwater wells | N | S | 2,100 |
| 4073311 | GLOUCESTER CO WATER TREATMENT PLT | Surface water, Beaverdam reservoir; 2 deep groundwater wells | N | S-Reservoir is full. | 8,870 |
| 4075283 | EASTERN GOOCHLAND CENTRAL WATER SYSTEM | Purchased surface water | N | S-purchases water from Henrico County | 2,500 |
| 4075735 | JAMES RIVER CORRECTIONAL CTR | Surface water; James River | V | S- Conservation at all DOC facilities | 9,300 |
| 4085398 | HANOVER SUBURBAN WATER SYSTEM | Surface water; North Anna River; some groundwater wells; purchases finished water | V | S (see Richmond) | 71,000 |
| 4085770 | SPRING MEADOWS-MEADOW GATE | Groundwater wells | N | S- A replacement well has been drilled and other improvements are proposed in the PER. | 2,300 |
| 4087125 | HENRICO COUNTY WATER SYSTEM | Surface water; James River | V | S (see Richmond) | 289,000 |
| 4101900 | WEST POINT, TOWN OF | Groundwater wells | N | S | 3,000 |
| 4127110 | DELMARVA PROPERTIES | Groundwater wells | V | S-New Kent Co. encourages conservation at all county owned waterworks. | 7,700 |
| 4145675 | POWHATAN COURTHOUSE | Groundwater wells | N | S | 2,600 |
| 4193280 | COLONIAL BEACH, TOWN OF | Groundwater wells | N | S | 3,300 |
| 4760100 | RICHMOND, CITY OF | Surface water; James River | V | S- water levels do not affect intake; James River Regional Flow Management Plan set restrictions based on James River level for counties of Henrico, Chesterfield, Goochland, and Hanover counties, which purchase water from the City. | 197,000 |
| 5515050 | City of Bedford | Stoney Creek Reservoir and Wells 1 to 5 | N | S - good levels | 6,946 |
| 5143210 | Town of Gretna | Georges Creek Res | N | S | 2,500 |
| 5029085 | Buckingham County | Troublesome Creek Reservoir | N | S | 5,751 |
| 5037300 | Town of Keysville | Keysville Reservoir | N | S | 800 |
| 5083550 | Town of Halifax | Bannister River Reservoir | N | S | 1,389 |
| 5780600 | Town of South Boston | Dan River | N | S | 9,726 |
| 5141640 | Town of Stuart | South Mayo River | N | S | 1,500 |
| 5147170 | Town of Farmville | Appomattox River | N | S | 7,011 |
| 5011050 | Town of Appomattox | Wells | V | B - Operation reports show water levels rising in the wells. | 1,708 |
| 5135160 | Town of Crewe | Crystal Lake | N | S - good levels | 3,500 |
| 5111450 | Town of Kenbridge | Flat Rock Creek and Offstream Reservoir | N | S - good levels | 1,400 |
| 5067785 | Ridgscrest | Wells | N | S | 52 |
| 5067265 | Hales Point | Wells | N | S - hauling water | 46 |
| 5067348 | Westlake Water Co | Wells | V | S - hauling water | 620 |
| 5067937 | Stripers Landing | Wells | N | S | 125 |
| 5690400 | City of Martinsville | Beaver Creek Reservoir | N | S | 16,000 |
| 6033425 | Lake Caroline WTP | Lake Caroline | N | S - Lake is full, but plant is OOS as of 4/5/09. | 3,370 |
| 6047500 | Town of Culpeper | Lake Pelham | N | S - On Friday, April 10, 2009, Lake Pelham was full. | 14,200 |
| 6061200 | Marshall | Groundwater | M | S - The WSA Alert Messaging Service maintains the Water Use Restriction Notice as of 4/10/2009. | 2,134 |
| 6061600 | Town of Warrenton | Reservoir on Cedar Run and groundwater | N | S - On Friday, 4/10/09, Warrenton Reservoir is at a surface elevation of 445.3 ft and is full with very slight overflow. | 11,160 |
| 6107150 | Town of Hamilton | Groundwater | M | S - 4/10/09 No water supply problems. Town Council voted to maintain Mandatory water use restrictions until new Well 14 is placed in service. | 2,000 |
| 6107200 | Town of Hillsboro | Spring/Well | V | W - 4/10/09 Combined yield from new well and spring has not been consistently adequate to meet current demand. A leak survey revealed 10 potential leaks in the distribution system. Last ran out of water in March. | 58 |
| 6107601 | LCSA Raspberry Falls Subdivision | Groundwater | V | S - 4/10/09 Both wells in service. No problems with water supply - quantity. Voluntary conservation in place beginning 3/11/08 due to concerns about possible GUDI sources. | 394 |
| 6107400 | Town of Lovettsville | Groundwater | V | S -4/10/09 Voluntary water use restrictions remain in place; however there is no problem with water supply. | 1,280 |
| 6107600 | Town of Purcellville | Hirst Reservoir and groundwater | N | B - 4/10/09 Both lakes are full. No water supply problems. Water conservation restrictions lifted. | 6,300 |
| 6107650 | Town of Round Hill | Groundwater | V | B - 4/10/09 - No water supply problems. Groundwater levels have improved. Voluntary water use restrictions replace mandatory water use restrictions on 4/1/08. | 3,156 |
| 6113200 | Town of Madison | White Oak Run | N | S -- Stream flow remains adequate to meet normal demands. | 778 |
| 6137300 | Rapidan Service Authority - Rt. 15 | Purchase treated surface water from Town of Orange (Rapidan River) | N | S - Town of Orange raw water availability is well above minimum. | 273 |
| 6137400 | Town of Gordonsville | Purchase treated surface water from RSA and Town of Orange | N | S--No water use restrictions are in place. | 1,800 |
| 6137500 | Town of Orange | Rapidan River | V | S - 4/10/09 - Fourteen day running average of Rapidan River flow is 863 cfs (withdrawal restrictions are imposed below 44 cfs). Offstream raw water reservoir is full. | 4,500 |
| 6137999 | Rapidan Service Authority - Wilderness and Lake of the Woods | Rapidan River | N | Rapidan River flow has been at an adequate level. | 11,331 |
| 6153260 | Woodbridge Mobile Home Park | Groundwater | M | S -- 4/10/09 Low water pressure problem continues. Waterworks continues to have low pressure due to inadequate sources and leaks in the distribution system. This problem is indirectly related to drought as source problems existed previously. A new well was completed in November 2008. Developmental Testing completed in December 2008, all water quality results reviewed by VDH ODW. Owner's engineer met with VDH ODW on 4/8/09 to kick off design effort. | 320 |
| 6177280 and 6177300 | Spotsylvania County | Rappahanock River, Motts Reservoir, Hunting Run Reservoir, Ni Reservoir | N | B - River flow averaging 1900cfs over past week. S - Motts reservoir down 2.6 ft. S - Ni Reservoir is full. | 79,315 |
| 6179100 and 6179775 | Stafford County | Smith Lake and Abel Lake | N | S - Smith and Abel Lakes are full. In June 2008, water supply emergency from 2007 was rescinded with county wide conservation requested. | 93,669 |

APPENDIX F

APPENDIX G

Drought Watch -- USGS State Information on Drought

Map of below normal 7-day average streamflow

APPENDIX H

Virginia Climate Response Network

March 17, 2009