DROUGHT MONITORING TASK FORCE

Drought Status Report

January 22, 2008

Statewide precipitation for the previous water year (October 1, 2006 through September 30, 2007) was below normal (81% of normal).  Statewide precipitation for the period from October 1, 2006 until January 17, 2008 was below normal (79% of normal) and statewide precipitation in each successive shorter time period is below normal. Statewide precipitation for the period from January 1, 2008 to January 17, 2008 is 52% of normal.  Precipitation greater than 85% of normal is considered to be in the normal range. The following drought evaluation regions are currently below normal for the period beginning October 1, 2006; Big Sandy (73%), New River (80%), Roanoke (78%), Upper James (83%), Middle James (81%), Shenandoah (82%), Northern Virginia (78%), Northern Piedmont (72%), Chowan (84%), Northern Coastal Plain (78%), York-James (76%) and Southeast Virginia (84%).  Precipitation deficits across the Commonwealth remained relatively stable in all drought evaluation regions since the last report.  All drought evaluation regions now have accumulated precipitation deficits that represent below normal conditions except the Eastern Shore (93%).  Appendix A contains precipitation tables for periods dating to October 1, 2006.  The long-range monthly climatologic outlook calls for above normal temperatures statewide and below normal precipitation for the eastern half of the Commonwealth through February of 2008.  The long-range seasonal outlook calls for above normal temperatures for the entire Commonwealth through April 2008.  The long-range seasonal outlook calls for equal chances of below normal, normal and above normal precipitation for the area west of the Blue Ridge and below normal precipitation for the remainder of the Commonwealth through April 2008.

The latest NOAA drought monitor indicates the occurrence of drought conditions throughout the majority of the Commonwealth and is included as Appendix B.  Appendix C contains information from the national drought monitor with only Virginia displayed.  Drought conditions have remained relatively stable over the Commonwealth during the last month.  Areas of exceptional drought in southwest Virginia have improved one drought category and are not rated as extreme drought.  The NOAA seasonal drought outlook through April 2008 indicates that drought conditions may improve in the majority of the Commonwealth with the potential for minor improvement in southeast Virginia.  The seasonal drought outlook is included as Appendix D.

Seven day average streamflows for January 21 in the majority of the Commonwealth are below normal (10th to 24th percentiles) with some areas in south central Virginia, southeast Virginia, the Middle Peninsula, and Northern Neck in the range of flows indicative of moderate hydrologic drought (6th to 9th percentiles) to severe hydrologic drought (< 5th percentile).  Stream flows reacted positively to falling temperatures and the resultant reduction in evapotranspiration and will likely remain stable until the beginning of the growing season..  While drought monitoring ground water levels data is scarce, ground water levels are generally in the lower range of expected water levels in areas east of Route 95 and are generally lower than normal in the area west of Route 95. Five dedicated drought monitoring wells are at levels indicative of moderate hydrologic drought (10th to 24th percentiles) and eight are at levels indicative of severe hydrologic drought (< 10th percentile).  More importantly ground water levels in the majority of dedicated monitoring wells have either remained stable of continued to decline during a period when ground water levels are expected to rise indicating ground water recharge.  Preliminary indications are that there will be little ground water recharge during the winter of 2007-2008. Levels of most large reservoirs have rebounded over the last month and are expected to fill before spring with the exception of Lake Anna which continues to be significantly lower than normal.

While the Virginia Department of Health has not reported any impacts to public water supplies that have compromised their ability to provide the needs of their customers 31 systems have initiated voluntary water conservation requirements and 13 systems have initiated mandatory water conservation requirements.  The reduction in conservation requirements is likely reflective of decrease water demands during the winter season and it is likely Appendix E contains a table of waterworks that have initiated water conservation requirements.

The Department of Forestry reports that light wildfire activity has continued during the month of January. This is above normal wildfire activity and may portend increased activity during the spring wildfire season.  Since January 1, 2008 the DOF has responded to 32 wildfires which have burned 194 acres.

The Department of Game and Inland Fisheries reports no significant change in the past month in stream flows or reservoir levels related to recreational activities.  Recreation has been impacted minimally however due to the limited seasonal demand.  All boat access ramps are open in spite of the lower water levels. Stocking of trout continues on schedule.  The trout raised in Department facilities are smaller then average due to the prolonged drought.  Significant winter/spring precipitation events are needed to provide adequate recreational opportunity and aquatic habitat during the spring fishing and fish spawning period.

The intensity of drought impacts has continued to decline during the last month due to the end of the active growing season.    Current moisture deficits coupled with a dry winter could result in significant drought impacts across all socio-economic sectors in the spring of 2008.

Reports from the Climatology Office of the University of Virginia, the Virginia Department of Agriculture and Consumer Services, the Virginia Department of Environmental Quality, the United States Geological Survey, and the Virginia Department of Forestry follow.

Report of the Climatology Office of the University of Virginia

Continued winter storm activity in late December brought statewide precipitation totals into the normal range for the month. Despite the Commonwealth's first widespread snowfall event of the season, the resulting precipitation amounts were insufficient to push totals for early January much past 50% of normal in all but one Drought Region.

Upper-air circulation has continued to keep winter storms on track for Virginia.  Forecasts for the next two weeks indicate a continuation of this trend with above normal precipitation.  Longer-range forecasts (February and February through April) indicate below normal precipitation for most of the state.

As has been emphasized in previous reports, precipitation during the colder months of the year is critical to the moisture status throughout the upcoming growing season.  An analysis of the long-term climatological records was performed to estimate the probability of receiving threshold statewide average precipitation totals between now and the end of March.

Based upon that analysis, the current probability that the statewide average precipitation total for the period October 2007 through March 2008 will reach a normal level is less than 15 percent.  The probability of reaching 85% of normal (low end of the "normal range") is about 60-percent.  This does not indicate the likely distribution of precipitation across the individual Drought Regions.

The actual amount of precipitation which would be required to make up for existing deficits and achieve a normal level of moisture reserves is uncertain.  Nonetheless, the shrinking probability of reaching even the normal level of precipitation for the period does not bode well for drought impacts during 2008.

Virginia Department of Agriculture and Consumer Services

Status of Agricultural Drought

Overview

According to the USDA crop weather report released on January 7, 2008, topsoil moisture was adequate. Producers are concerned about low subsoil moisture and the dry trend does not help prospects for the 2008 growing season.  Hay is still short in supply and farmers continue to struggle with the shift in economics coming from skyrocketing values for hay and fertilizer.

Impact on Crops:

Nursery/Horticulture:

- Virginia's nursery and landscape industry is no longer suffering direct drought damage since most outside plants have gone dormant for the winter. However, the full damage to surviving plants will not become evident until this spring when the plants break dormancy. Drought damage to many plant root systems will not allow for the vigorous spring growth of leaves necessary for sustained plant health. Many plants will die this spring from the drought effects they suffered last fall. Hopefully nurserymen and landscapers will have sufficient healthy plant material to meet the anticipated volume of increased business required to repair or replace homeowner's drought damaged landscaping.

Hay Crop:

- As a result of the hay shortages caused by the 2007 drought, the Virginia Tobacco Indemnification and Community Revitalization Commission has allocated $500,000.00 to livestock producers in the Southwest Virginia counties of Bland, Buchanan, Carroll, Dickenson, Grayson, Lee, Scott, Smyth, Tazewell, Washington, Wise, and Wythe.

Impact on Livestock:

- Snow and ice early in December forced livestock producers to suspend pasture grazing their livestock for about a week.  Feed supplies for livestock continue to be tight as stored feed is being depleted and could be non-existent by spring if these supplies are not purchased soon.

Disaster Designations

Due to the extreme agricultural drought, 93 Virginia counties and 34 independent cities have received a Secretarial disaster designation as primary natural disaster areas in 2007.  York and Arlington counties and the independent cities of Alexandria, Bristol, Falls Church, Poquoson, and Norton were named contiguous disaster areas.

Waivers for Hauling of Emergency Supplies

At the request of the Department of Agriculture and Consumer Services, the Department of Transportation and Department of Motor Vehicle have jointly authorized a temporary waiver of registration and license requirements along with normal weight and width restrictions for the hauling of hay and feed to the counties that have been designated natural disaster areas by the U.S. Secretary of Agriculture.  The waiver also pertains to contiguous counties.  In addition, the Department of Emergency Management has authorized appropriate motor carrier exemptions to hours worked as prescribed by the Code of Federal Regulations and corresponding state regulations throughout the Commonwealth for carriers transporting emergency supplies destined for the affected localities.  Both waivers became effective at 6 a.m. on August 11 and will remain in effect through April 15, 2008.

Virginia Department of Environmental Quality

Condition of Major Reservoirs

Reservoir conditions have generally improved over the past month and we appear to be on track to bring back major lake levels to their normal elevations by spring.  The slowest lake to respond has been Lake Anna due to its relatively small watershed.

Lake Moomaw in western Virginia has gained back 43% of its conservation pool in the past month and now stands at 73% full.  The lake is on track to fill before spring.  When it does refill, the lake will probably return to normal operations.  Inflow during the spring normally exceeds minimum releases because the reservoir passes inflow after it reaches full pool.  Variances to the minimum flows remain in place at this time to insure that refilling occurs.  The project is releasing only 100 cubic feet of water per second to the Jackson River.

Kerr Reservoir is at 295.9 feet, close to guide curve and 1.2 feet higher than a month ago.  The Southeastern Power Administration is making the minimum amount of hydroelectric power to fulfill their contracts.  The other Corps of Engineers Lake, Lake Philpott, is at 965.6 feet, still 2 feet below guide curve.  Lake Philpott has risen five feet in the past month.

Smith Mountain Lake is at 793.9 feet; 1.1 feet below full. The lake has gained one foot in the past month.  The lake level is currently steady. The project is operating under variance and is currently releasing 350 cfs instead of  the normal release of 650 cfs.  The variance has been in effect for five months, saving about 4.4 feet of water over the normal release. Because of early action by the State, the lake is only one foot down and should refill by spring.

The system of reservoirs owned by Rivanna Water and Sewer Authority is currently 93% full, having gained 5% in the past month. This drought warning has been lifted.

Last week Lake Anna was at 247.8 feet msl, 2.2 feet below full and releasing the drought contingency plan minimum flow of 20 cfs as required by the existing Flow Measurement Design Plan and Operations Manual.

United States Geological Survey

Streamflow and Ground Water Levels

Streamflow in the western portions of the State (Valley and Ridge and Appalachian Plateaus) are generally in the normal to just below normal range.  This represents a significant  improvement in streamflow conditions for southwest Virginia.  Streamflows in the Piedmont and Coastal plain are generally well below normal for this time of year.  Water-table wells are a mix with the majority below normal.  The disturbing fact is that most well levels have not started their winter recovery that would be expected to begin in early to mid December.  This delay of ground water recharge is thought to be due to last fall’s warmer than normal temperatures and the resultant late leaf fall.  All indications are that recent rainfall has reduced soil moisture deficit and ground-water recharge will not occur until these deficits are eliminated.  The monthly and seasonal temperature outlooks indicate higher than normal temperatures for the entire Commonwealth which may result in an early spring green-up and early leaf out.  If we experience an early spring there will be little opportunity for ground water recharge to occur.   

Precipitation in the next two months will be critical for reducing the effect of drought this spring and summer.

Streamflow conditions based on daily values for January 21 are presented in Appendix F. Area summaries of 7-day average streamflows from the USGS drought watch web page show similar flow conditions and are presented in Appendix G.  Current conditions are generally lower than depicted by seven day average stream flows as flows continue to decline.  Ground water levels based on conditions on January 21 are presented in Appendix H.

Department of Forestry

The Virginia Department of Forestry reports that through January 17th, the agency has responded to 32 fires which have burned 294 acres. This activity is above average for this time of year and indicative of the drier than normal conditions across the Commonwealth.

The obvious concern is how current conditions may impact wildfire potential during the month of February and what that may mean for Virginia's spring wildfire season. All indications are that the Commonwealth will experience a higher than normal number of fires this spring and the agency is ready to respond as necessary.

The DOF also reports concern over secondary drought effects such as a continued upward trend for forest pest outbreaks such as Gypsy Moth and Southern Pine Beetle and also concerns with higher than normal tree seedling mortality following the spring planting season. More than 18 million seedlings are planted in Virginia each year and poor survival as a result of extended dry conditions can create major economic impacts lasting for many years.

##### APPENDIX A

Precipitation departures by Drought Evaluation Region.

|  | PRELIMINARY PRECIPITATION SUMMARY |  | Prepared: |
| --- | --- | --- | --- |
|  |  |  |  |  | 01/19/08 |
|  | DROUGHT |  | Jan 1, 2008 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 2.24 | 2.05 | 0.19 | 110% |
| 2 | New River | 0.97 | 1.76 | -0.79 | 55% |
| 3 | Roanoke | 0.81 | 2.15 | -1.34 | 38% |
| 4 | Upper James | 1.08 | 1.80 | -0.72 | 60% |
| 5 | Middle James | 0.76 | 2.01 | -1.25 | 38% |
| 6 | Shenandoah | 0.91 | 1.56 | -0.65 | 58% |
| 7 | Northern Virginia | 1.12 | 1.80 | -0.68 | 62% |
| 8 | Northern Piedmont | 0.92 | 1.93 | -1.01 | 48% |
| 9 | Chowan | 0.68 | 2.25 | -1.57 | 30% |
| 10 | Northern Coastal Plain | 1.11 | 2.06 | -0.95 | 54% |
| 11 | York-James | 0.93 | 2.27 | -1.34 | 41% |
| 12 | Southeast Virginia | 0.65 | 2.28 | -1.63 | 28% |
| 13 | Eastern Shore | 1.13 | 1.95 | -0.82 | 58% |
|  | Statewide | 1.03 | 2.00 | -0.97 | 52% |
|  | DROUGHT |  | Dec 1, 2007 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 5.25 | 5.69 | -0.43 | 92% |
| 2 | New River | 3.55 | 4.47 | -0.93 | 79% |
| 3 | Roanoke | 4.03 | 5.40 | -1.37 | 75% |
| 4 | Upper James | 4.19 | 4.75 | -0.56 | 88% |
| 5 | Middle James | 3.49 | 5.18 | -1.69 | 67% |
| 6 | Shenandoah | 3.86 | 4.15 | -0.30 | 93% |
| 7 | Northern Virginia | 4.16 | 4.90 | -0.74 | 85% |
| 8 | Northern Piedmont | 4.12 | 5.21 | -1.09 | 79% |
| 9 | Chowan | 4.82 | 5.27 | -0.45 | 91% |
| 10 | Northern Coastal Plain | 3.86 | 5.34 | -1.48 | 72% |
| 11 | York-James | 5.04 | 5.66 | -0.62 | 89% |
| 12 | Southeast Virginia | 4.31 | 5.46 | -1.16 | 79% |
| 13 | Eastern Shore | 5.70 | 5.19 | 0.51 | 110% |
|  | Statewide | 4.16 | 5.12 | -0.96 | 81% |

|  | DROUGHT |  | Nov 1, 2007 | - Jan 17, 2008 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 6.93 | 8.97 | -2.04 | 77% |
| 2 | New River | 4.20 | 7.50 | -3.30 | 56% |
| 3 | Roanoke | 4.50 | 8.76 | -4.26 | 51% |
| 4 | Upper James | 4.71 | 8.11 | -3.40 | 58% |
| 5 | Middle James | 4.08 | 8.69 | -4.60 | 47% |
| 6 | Shenandoah | 4.99 | 7.20 | -2.21 | 69% |
| 7 | Northern Virginia | 5.78 | 8.31 | -2.53 | 70% |
| 8 | Northern Piedmont | 5.12 | 9.01 | -3.89 | 57% |
| 9 | Chowan | 5.33 | 8.38 | -3.06 | 64% |
| 10 | Northern Coastal Plain | 5.00 | 8.48 | -3.48 | 59% |
| 11 | York-James | 5.86 | 9.03 | -3.17 | 65% |
| 12 | Southeast Virginia | 4.87 | 8.53 | -3.66 | 57% |
| 13 | Eastern Shore | 6.54 | 8.13 | -1.59 | 80% |
|  | Statewide | 5.01 | 8.35 | -3.34 | 60% |
|  | DROUGHT |  | Oct 1, 2007 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 8.66 | 11.85 | -3.18 | 73% |
| 2 | New River | 8.04 | 10.67 | -2.63 | 75% |
| 3 | Roanoke | 8.45 | 12.47 | -4.02 | 68% |
| 4 | Upper James | 7.08 | 11.36 | -4.28 | 62% |
| 5 | Middle James | 7.99 | 12.53 | -4.54 | 64% |
| 6 | Shenandoah | 7.39 | 10.39 | -3.00 | 71% |
| 7 | Northern Virginia | 9.44 | 11.79 | -2.35 | 80% |
| 8 | Northern Piedmont | 7.62 | 13.00 | -5.38 | 59% |
| 9 | Chowan | 8.42 | 11.96 | -3.54 | 70% |
| 10 | Northern Coastal Plain | 10.37 | 11.99 | -1.62 | 87% |
| 11 | York-James | 9.70 | 12.56 | -2.86 | 77% |
| 12 | Southeast Virginia | 10.14 | 12.19 | -2.05 | 83% |
| 13 | Eastern Shore | 9.91 | 11.34 | -1.44 | 87% |
|  | Statewide | 8.40 | 11.85 | -3.45 | 71% |

|  | DROUGHT |  | Sep 1, 2007 | - Jan 17, 2008 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 9.91 | 15.31 | -5.39 | 65% |
| 2 | New River | 9.68 | 14.08 | -4.40 | 69% |
| 3 | Roanoke | 10.53 | 16.70 | -6.17 | 63% |
| 4 | Upper James | 9.33 | 14.86 | -5.53 | 63% |
| 5 | Middle James | 8.80 | 16.66 | -7.86 | 53% |
| 6 | Shenandoah | 9.34 | 14.06 | -4.72 | 66% |
| 7 | Northern Virginia | 10.61 | 15.86 | -5.25 | 67% |
| 8 | Northern Piedmont | 8.61 | 17.28 | -8.67 | 50% |
| 9 | Chowan | 9.39 | 16.39 | -7.01 | 57% |
| 10 | Northern Coastal Plain | 11.61 | 16.08 | -4.46 | 72% |
| 11 | York-James | 11.60 | 17.46 | -5.86 | 66% |
| 12 | Southeast Virginia | 10.87 | 16.62 | -5.75 | 65% |
| 13 | Eastern Shore | 11.47 | 14.95 | -3.49 | 77% |
|  | Statewide | 9.82 | 15.85 | -6.03 | 62% |
|  | DROUGHT |  | Aug 1, 2007 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 11.10 | 19.14 | -8.04 | 58% |
| 2 | New River | 10.87 | 17.39 | -6.52 | 63% |
| 3 | Roanoke | 11.36 | 20.42 | -9.06 | 56% |
| 4 | Upper James | 10.77 | 18.19 | -7.42 | 59% |
| 5 | Middle James | 11.52 | 20.48 | -8.96 | 56% |
| 6 | Shenandoah | 12.11 | 17.39 | -5.28 | 70% |
| 7 | Northern Virginia | 12.47 | 19.71 | -7.24 | 63% |
| 8 | Northern Piedmont | 10.99 | 21.10 | -10.11 | 52% |
| 9 | Chowan | 11.40 | 20.70 | -9.31 | 55% |
| 10 | Northern Coastal Plain | 13.06 | 19.94 | -6.88 | 66% |
| 11 | York-James | 13.93 | 22.33 | -8.41 | 62% |
| 12 | Southeast Virginia | 14.35 | 21.74 | -7.40 | 66% |
| 13 | Eastern Shore | 13.96 | 18.82 | -4.86 | 74% |
|  | Statewide | 11.69 | 19.68 | -7.99 | 59% |

|  | DROUGHT |  | Jul 1, 2007 | - Jan 17, 2008 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 15.59 | 23.62 | -8.03 | 66% |
| 2 | New River | 13.80 | 21.18 | -7.38 | 65% |
| 3 | Roanoke | 14.63 | 24.81 | -10.18 | 59% |
| 4 | Upper James | 13.11 | 22.23 | -9.12 | 59% |
| 5 | Middle James | 13.87 | 24.89 | -11.01 | 56% |
| 6 | Shenandoah | 14.11 | 21.15 | -7.04 | 67% |
| 7 | Northern Virginia | 14.94 | 23.48 | -8.54 | 64% |
| 8 | Northern Piedmont | 12.52 | 25.50 | -12.98 | 49% |
| 9 | Chowan | 14.45 | 25.21 | -10.76 | 57% |
| 10 | Northern Coastal Plain | 14.48 | 24.39 | -9.91 | 59% |
| 11 | York-James | 17.37 | 27.43 | -10.06 | 63% |
| 12 | Southeast Virginia | 17.66 | 26.81 | -9.16 | 66% |
| 13 | Eastern Shore | 16.05 | 22.82 | -6.77 | 70% |
|  | Statewide | 14.42 | 24.02 | -9.60 | 60% |
|  | DROUGHT |  | Jun 1, 2007 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 18.33 | 27.76 | -9.42 | 66% |
| 2 | New River | 16.84 | 25.03 | -8.19 | 67% |
| 3 | Roanoke | 17.56 | 28.70 | -11.14 | 61% |
| 4 | Upper James | 16.87 | 25.94 | -9.07 | 65% |
| 5 | Middle James | 17.23 | 28.40 | -11.17 | 61% |
| 6 | Shenandoah | 17.39 | 24.86 | -7.48 | 70% |
| 7 | Northern Virginia | 16.88 | 27.34 | -10.46 | 62% |
| 8 | Northern Piedmont | 14.67 | 29.51 | -14.84 | 50% |
| 9 | Chowan | 16.67 | 28.86 | -12.20 | 58% |
| 10 | Northern Coastal Plain | 16.33 | 27.95 | -11.61 | 58% |
| 11 | York-James | 19.56 | 30.84 | -11.29 | 63% |
| 12 | Southeast Virginia | 20.88 | 30.42 | -9.55 | 69% |
| 13 | Eastern Shore | 21.30 | 25.80 | -4.50 | 83% |
|  | Statewide | 17.28 | 27.81 | -10.53 | 62% |

|  | DROUGHT |  | May 1, 2007 | - Jan 17, 2008 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 20.08 | 32.58 | -12.50 | 62% |
| 2 | New River | 18.62 | 29.24 | -10.62 | 64% |
| 3 | Roanoke | 19.53 | 33.03 | -13.50 | 59% |
| 4 | Upper James | 18.89 | 30.22 | -11.33 | 63% |
| 5 | Middle James | 19.69 | 32.64 | -12.95 | 60% |
| 6 | Shenandoah | 19.57 | 28.70 | -9.13 | 68% |
| 7 | Northern Virginia | 18.14 | 31.68 | -13.54 | 57% |
| 8 | Northern Piedmont | 16.76 | 33.73 | -16.97 | 50% |
| 9 | Chowan | 19.55 | 32.95 | -13.40 | 59% |
| 10 | Northern Coastal Plain | 17.58 | 32.11 | -14.53 | 55% |
| 11 | York-James | 21.11 | 35.11 | -14.00 | 60% |
| 12 | Southeast Virginia | 22.84 | 34.28 | -11.44 | 67% |
| 13 | Eastern Shore | 23.04 | 29.32 | -6.28 | 79% |
|  | Statewide | 19.31 | 32.07 | -12.76 | 60% |
|  | DROUGHT |  | Apr 1, 2007 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 24.55 | 36.34 | -11.79 | 68% |
| 2 | New River | 21.74 | 32.79 | -11.05 | 66% |
| 3 | Roanoke | 22.74 | 36.83 | -14.09 | 62% |
| 4 | Upper James | 22.39 | 33.62 | -11.23 | 67% |
| 5 | Middle James | 22.92 | 35.98 | -13.06 | 64% |
| 6 | Shenandoah | 23.15 | 31.62 | -8.47 | 73% |
| 7 | Northern Virginia | 21.87 | 34.98 | -13.11 | 63% |
| 8 | Northern Piedmont | 19.86 | 37.02 | -17.16 | 54% |
| 9 | Chowan | 23.99 | 36.38 | -12.40 | 66% |
| 10 | Northern Coastal Plain | 21.29 | 35.20 | -13.91 | 60% |
| 11 | York-James | 25.15 | 38.41 | -13.26 | 65% |
| 12 | Southeast Virginia | 27.36 | 37.53 | -10.18 | 73% |
| 13 | Eastern Shore | 27.59 | 32.24 | -4.65 | 86% |
|  | Statewide | 22.95 | 35.49 | -12.54 | 65% |

|  | DROUGHT |  | Mar 1, 2007 | - Jan 17, 2008 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 27.68 | 40.59 | -12.90 | 68% |
| 2 | New River | 25.77 | 36.46 | -10.69 | 71% |
| 3 | Roanoke | 26.43 | 41.10 | -14.67 | 64% |
| 4 | Upper James | 26.03 | 37.41 | -11.38 | 70% |
| 5 | Middle James | 25.97 | 40.04 | -14.06 | 65% |
| 6 | Shenandoah | 26.03 | 34.82 | -8.79 | 75% |
| 7 | Northern Virginia | 25.02 | 38.64 | -13.62 | 65% |
| 8 | Northern Piedmont | 22.29 | 40.83 | -18.54 | 55% |
| 9 | Chowan | 26.56 | 40.75 | -14.20 | 65% |
| 10 | Northern Coastal Plain | 24.10 | 39.48 | -15.38 | 61% |
| 11 | York-James | 26.87 | 43.10 | -16.23 | 62% |
| 12 | Southeast Virginia | 29.30 | 41.73 | -12.43 | 70% |
| 13 | Eastern Shore | 29.37 | 36.55 | -7.18 | 80% |
|  | Statewide | 26.02 | 39.53 | -13.51 | 66% |
|  | DROUGHT |  | Feb 1, 2007 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 29.08 | 44.17 | -15.09 | 66% |
| 2 | New River | 27.42 | 39.39 | -11.97 | 70% |
| 3 | Roanoke | 28.48 | 44.41 | -15.93 | 64% |
| 4 | Upper James | 28.48 | 40.26 | -11.78 | 71% |
| 5 | Middle James | 27.95 | 43.16 | -15.21 | 65% |
| 6 | Shenandoah | 28.08 | 37.23 | -9.15 | 75% |
| 7 | Northern Virginia | 27.86 | 41.31 | -13.45 | 67% |
| 8 | Northern Piedmont | 24.73 | 43.80 | -19.07 | 56% |
| 9 | Chowan | 28.72 | 43.92 | -15.20 | 65% |
| 10 | Northern Coastal Plain | 26.60 | 42.62 | -16.01 | 62% |
| 11 | York-James | 28.62 | 46.63 | -18.02 | 61% |
| 12 | Southeast Virginia | 31.56 | 45.23 | -13.67 | 70% |
| 13 | Eastern Shore | 32.16 | 39.74 | -7.58 | 81% |
|  | Statewide | 28.11 | 42.66 | -14.55 | 66% |

|  | DROUGHT |  | Jan 1, 2007 | - Jan 17, 2008 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 32.26 | 47.90 | -15.63 | 67% |
| 2 | New River | 30.38 | 42.60 | -12.22 | 71% |
| 3 | Roanoke | 32.36 | 48.33 | -15.97 | 67% |
| 4 | Upper James | 31.49 | 43.54 | -12.05 | 72% |
| 5 | Middle James | 31.52 | 46.82 | -15.30 | 67% |
| 6 | Shenandoah | 29.64 | 40.08 | -10.44 | 74% |
| 7 | Northern Virginia | 30.11 | 44.59 | -14.48 | 68% |
| 8 | Northern Piedmont | 27.25 | 47.32 | -20.07 | 58% |
| 9 | Chowan | 31.25 | 48.03 | -16.79 | 65% |
| 10 | Northern Coastal Plain | 30.84 | 46.37 | -15.52 | 67% |
| 11 | York-James | 31.23 | 50.77 | -19.55 | 62% |
| 12 | Southeast Virginia | 34.73 | 49.39 | -14.66 | 70% |
| 13 | Eastern Shore | 34.33 | 43.30 | -8.97 | 79% |
|  | Statewide | 31.17 | 46.30 | -15.13 | 67% |
|  | DROUGHT |  | Dec 1, 2006 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 34.26 | 51.54 | -17.28 | 66% |
| 2 | New River | 32.17 | 45.31 | -13.14 | 71% |
| 3 | Roanoke | 34.54 | 51.58 | -17.04 | 67% |
| 4 | Upper James | 33.48 | 46.49 | -13.01 | 72% |
| 5 | Middle James | 33.11 | 49.99 | -16.88 | 66% |
| 6 | Shenandoah | 30.77 | 42.67 | -11.91 | 72% |
| 7 | Northern Virginia | 31.77 | 47.69 | -15.92 | 67% |
| 8 | Northern Piedmont | 29.00 | 50.60 | -21.60 | 57% |
| 9 | Chowan | 33.41 | 51.05 | -17.64 | 65% |
| 10 | Northern Coastal Plain | 32.55 | 49.65 | -17.10 | 66% |
| 11 | York-James | 33.05 | 54.16 | -21.12 | 61% |
| 12 | Southeast Virginia | 37.18 | 52.57 | -15.39 | 71% |
| 13 | Eastern Shore | 37.08 | 46.54 | -9.46 | 80% |
|  | Statewide | 33.02 | 49.42 | -16.40 | 67% |

|  | DROUGHT |  | Nov 1, 2006 | - Jan 17, 2008 |
| --- | --- | --- | --- | --- |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 37.01 | 54.82 | -17.81 | 68% |
| 2 | New River | 36.12 | 48.34 | -12.22 | 75% |
| 3 | Roanoke | 39.93 | 54.94 | -15.01 | 73% |
| 4 | Upper James | 37.26 | 49.85 | -12.59 | 75% |
| 5 | Middle James | 38.84 | 53.50 | -14.66 | 73% |
| 6 | Shenandoah | 34.91 | 45.72 | -10.81 | 76% |
| 7 | Northern Virginia | 37.56 | 51.10 | -13.53 | 74% |
| 8 | Northern Piedmont | 35.30 | 54.40 | -19.10 | 65% |
| 9 | Chowan | 40.79 | 54.16 | -13.38 | 75% |
| 10 | Northern Coastal Plain | 37.85 | 52.79 | -14.94 | 72% |
| 11 | York-James | 38.71 | 57.53 | -18.82 | 67% |
| 12 | Southeast Virginia | 44.80 | 55.64 | -10.84 | 81% |
| 13 | Eastern Shore | 41.96 | 49.48 | -7.53 | 85% |
|  | Statewide | 38.18 | 52.65 | -14.47 | 73% |
|  | DROUGHT |  | Oct 1, 2006 | - Jan 17, 2008 |
|  | REGION | OBSERVED | NORMAL | DEPARTURE | % OF NORM. |
| 1 | Big Sandy | 41.98 | 57.70 | -15.71 | 73% |
| 2 | New River | 41.11 | 51.51 | -10.40 | 80% |
| 3 | Roanoke | 45.97 | 58.65 | -12.68 | 78% |
| 4 | Upper James | 44.19 | 53.10 | -8.91 | 83% |
| 5 | Middle James | 46.53 | 57.34 | -10.81 | 81% |
| 6 | Shenandoah | 40.16 | 48.91 | -8.76 | 82% |
| 7 | Northern Virginia | 42.35 | 54.58 | -12.23 | 78% |
| 8 | Northern Piedmont | 41.83 | 58.39 | -16.56 | 72% |
| 9 | Chowan | 48.49 | 57.74 | -9.26 | 84% |
| 10 | Northern Coastal Plain | 43.92 | 56.30 | -12.37 | 78% |
| 11 | York-James | 46.71 | 61.06 | -14.35 | 76% |
| 12 | Southeast Virginia | 49.87 | 59.30 | -9.43 | 84% |
| 13 | Eastern Shore | 48.89 | 52.69 | -3.80 | 93% |
|  | Statewide | 44.42 | 56.15 | -11.73 | 79% |

##### APPENDIX B

APPENDIX C

APPENDIX D

APPENDIX E

Condition of Public Water Supplies

| ODW Drought Situation Report |  | Restriction totals |  |
| --- | --- | --- | --- |
| Date: | 1/17/08 |  | Mandatory | 13 |  |
|  |  |  | Voluntary | 31 |  |
|  |  |  | Total | 44 |  |
|  |  |  | N-None | B-Better |  |
|  |  |  | M-Mandatory | S-Stable/Same |  |
|  |  |  | V-Voluntary | W-Worse |  |
| PWSID | Waterworks | Source Name | Restrictions | Situation | Population Served |
| 1071455 | Giles County PSA | well | N | S 12/12/07: Well water level at 100 ft above pump at startup. Drops slightly during pumping. 10/05/07: started using secondary wells, Orchard & Tannery, to supplement. Still in good shape. REMOVED FROM REPORT DUE TO ADEQUATE SUPPLY 1/11/08. | 8,500 |
| 1077240 | Town of Fries | Eagle Bottom Creek & New River | N | S 12/17/07: the Creek impoundment still overflowing. Creek flow back to normal fall weather rate. Their auxiliary New River withdrawal portable pump is ready to use if needed. REMOVED FROM REPORT DUE TO ADEQUATE SUPPLY 1/11/08. | 614 |
| 1105200 | Town of Jonesville | Wynn Spring #1 and Slemp Spring | N | S 1/09/08: Springs' flowrates are stable. Normal WTP operating rate = 380 gpm; down to 300 gpm. WTP running 18 hrs/day. Using all of Wynne Spring production and part of the production of Slemp spring. | 1,100 |
| 1105400 | Lee County PSA | Blue Springs | N | B 01/11/08: Spring flow has increased significantly. Currently treating 244,800 gpd with a lot of flow-by. At this rate, tank levels are staying at about full. | 2,500 |
| 1105400 | Lee County PSA | KVS Quarry | N | S 01/11/08: Water level in quarry is rising; currently at 204 inches below catwalk . Level was 206 inches below catwalk on 01/08/08. In process of building a floating raw water pump station. | 2,500 |
| 1155635 | Town of Pulaski | Two impoundments and Peak Creek | N | B 1/11/07: Hogans Reservoir lowered to repair dam. Gatewood down 4 ft. Hogans down 15 ft. Working on drought response plan with NRV PDC/Kevin Byrd. This plan identified 20 ft down as the critical point for reservoir level. In good shape; may remove from drought report soon. | 9,452 |
| 1167050 | Russell County Water & Sewerage Authority | springs, wells, Clinch River | N | S 11/29/2007: Source average monthly production reductions: Crystal well from 65 to 43 gpm; Sargent Spring from 200 to 80 gpm; Seven Spring well 1 from 24 to 15 gpm; Seven Springs from 200 to 77 gpm; Straight Hollow mines from 200 to 105 gpm. Purchasing supplemental water from St. Paul at an average of 20 gpm. Accountability increased from 40% in August to 54% in September. St. Paul has adequate surplus capacity to provide up to 50% of RCWSA average daily demand. REMOVED FROM REPORT SINCE ST. PAUL HAS SUFFICIENT EXCESS CAPACITY TO SUPPLY DEMAND. | 5,565 |
| 1169725 | Town of Nickelsville | Wells | V | S 01/09/08: Well production had dropped and voluntary conservation notice issued 8/31/07. Well #1 is used occasionally now (about 4 hours/day). Well #3 drops to ~ 6 gpm(safe yield=13). Well #6 drops to ~8-10 gpm(safe yield=21 gpm). Well #5 began pumping muddy water on 01/06/08, however they have now decreased the pumping time to 8 - 9 hours/day and the well appears to be doing fine. Well #4 has no drop in output. Repairing leaks (accountability is satisfactory). Working on adding two new wells: (1) Park well's bacts were all negative. Park well now being used. (2) New Tank well is drilled and grouted; yield and drawdown done (28 gpm) and waiting on test results and the plans & Specs from engineer. | 900 |
| 1185061 | Town of Bluefield | impoundment of Bluestone River | N | S 12/17/07: Water levels remain steady since 11/01/07 report. The WTP is currently able to withdraw at its design capacity of 1.5 MGD. REMOVED FROM REPORT DUE TO ADEQUATE SUPPLY AND AVAILABILITY OF BACKUP SOURCE FROM WEST VA. AMERICAN WATERWORKS 12/17/07. | 6,138 |
| 1185625 | Town of Pocahontas | Abbs Valley Creek | N | S 12/17/07: Removed call for voluntary conservation on 11/19/07. No change since 11/15/07 report. Flow in source water, Abbs Valley Creek is now overflowing the check dam. WTP operates 12 hours/day on average. It can be supplied by Greater Tazewell WTP if there is a need to reduce demand at Pocahonatas. Likewise the Greater Tazewell WTP could supplement supply to Pocahontas through an existing interconnection via the TCPSA Boissevain storage tank, which is 72 feet higher in elevation than the Pocahontas tanks. REMOVED FROM REPORT DUE TO ADEQUATE WATER SUPPLY 01/11/08. | 1,200 |
| 1185762 | Greater Tazewell | Lake Witten, Clinch River, & impoundment of Cox Brance | N | S 12/17/07: Cox Branch and Clinch River flows restored to normal levels by recent rainfall. Lake Witten (main source) level still decreasing. PSA does not control use of Lake Witten for maintaining downstream flows. No current problems in meeting demand. REMOVED FROM REPORT DUE TO ADEQUATE WATER SUPPLY 01/11/08. | 11,964 |
| 1195050 | Town of Appalachia | reservoir | M | B 01/09/08: down 15'-7.5" from overflow. 29 MG left, 64 days ± 10 left. Pumping from Powell River to reservoir @ approx. 350 gpm. | 3,280 |
| 1195100 | Town of Big Stone Gap | Big Cherry Reservoir | M | B 01/09/08: Reservoir down 17.5 ft from overflow. 130 MG left, 48 days, including 1 MGD for flow-by. Are preparing to construct a permanent emergency pump station to get 0.25 MGD of water from Pennington Gap via Dryden via Eastern Lee (are waiting on an easement issue to be resolved). At this time they are no longer considering construction of: the temporary pump station to get 0.15 MGD of water from Duffield; or the 1,500 ft for above ground temporary pipe to get 0.25 MGD of water from Wise County PSA via Norton. At this time, Big Stone Gap has not purchased any water. | 9,000 |
| 1195950 | Town of Wise | reservoir | N | S 01/09/08: Reservoir down 11.1 ft, 99 MG left, 165 days left (@ 0.6 MGD). Slightly below average for this time of year. Auxiliary mine well source being pumped into reservoir. | 6,375 |
| 1720076 | City of Norton | reservoirs | N | S 1/10/08: Upper reservoir down 19 ft; lower reservoir down 15.5 ft from overflow. 50.2 MG, approx 110 days left based on 0.45 MGD production. Purchasing more water from Wise County PSA. Worse than normal for this time of year. | 4,247 |
| 2003250 | Albemarle County / Crozet | Beaver Creek Reservoir | V | B - Beaver Creek Reservoir is currently down 1.4 feet from normal full. Drought Warning reduced to Watch 1/2/08 | 25 |
| 2003600 | Charlottesville/Albemarle County | Sugar Hollow and Ragged Mountain Reservoirs (Observatory WTP) | V | B - The Sugar Hollow reservoir is down 3.8 feet from full. Ragged Mountain reservoir is 2.7 feet below full. Drought warning and mandatory restrictions in effect since August 15. | 25 |
| 2003675 | Albemarle County / Scottsville | Totier Creek Reservoir | V | B - The Totier Creek reservoir is full. Drought Warning reduced to Watch 1/2/08 | 25 |
| 2003725 | Charlottesville/Albemarle County | South Fork Rivanna (South Rivanna WTP) | V | B - The South Fork Rivanna reservoir is full. Drought Warning reduced to Watch 1/2/08 | 25 |
| 2023730 | Dal-Nita Hills | Drilled Well | V | S - Well yield has dropped to 4 to 5 gpm. Owner is hauling water, as needed, to keep storage tank full. Letter provided to the customers advising them of the situation. | 35 homes |
| 2043125 | Berryville, Town of | Shenandoah River | V | S - Voluntary conservation requested on 11 December 2007. | 2,965 |
| 2065250 | Fluvanna Correctional Center for Women | Mechunk Creek and on-site Raw Water Reservoir | V | B - Reservoir is at ~88% of full capacity (~35 MG stored). Moderate Drought Condition continues though. | 1,650 |
| 2069250 | Frederick County Sanitation Authority | Stephens City and Clearbrook Quarries; City of Winchester | V | S - Voluntary conservation has been requested. | 33,330 |
| 2125325 | NCSA - Lovingston | Black Creek Reservoir and Wells | N | B - All restrictions lifted, Reservoir is full | 900 |
| 2125065 | NCSA - Gladstone | Spring | N | B - All restrictions lifted | 90 |
| 2125650 | NCSA - Schuyler | Johnson's Branch | N | B - All restrictions lifted | 300 |
| 2125910 | NCSA - Wintergreen | Lake Monacan | N | B - Lake Monacan system is full. All restrictions lifted. | 3,800 |
| 2171750 | Town of Strasburg | North Fork Shenandoah River | V | S - Voluntary conservation has been requested. Stream flow (14 day average) approx 246 cfs on 8 January. | 4,017 |
| 2187406 | Front Royal | South Fork Shenandoah River | V | S - Mean stream flow reported at 621 cfs on 8 January. VWPP requires conservation controls to be implemented at 24% (voluntary) and 17% (mandatory) of mean stream flow based on 14-day running average. | 12,500 |
| 2560100 | Town of Clifton Forge | Smith Creek | V | S - Voluntary conservation has been requested. | 4,679 |
| 2660345 | City of Harrisonburg | North River, Dry River/Switzer Reservoir (Rawley Springs) | V | S - Voluntary conservation has been requested. This has not been implemented as a result of limited low source water quantity, but rather at the request of the Governor's letter requesting conservation. | 44,500 |
| 2840500 | Winchester, City of | North Fork Shenandoah River | V | S - Voluntary conservation requested on 1 October. Stream flow (14 day average) approx 287 cfs on 8 January. | 27,485 |
| 3053280 | DCWA Central (Dinwiddie County) | Appomattox River Water Authority (ARWA) | N | B - Lifted restrictions on 12/27/07. | 6,800 |
| 3081550 | GCWSA - Jarratt | Nottoway River | N | S - Waterworks has increased work hours per day to decrease withdrawal rate, performed work at the intake to maximize capacity, and inquired about future use of existing inactive groundwater sources. | 7,190 |
| 3093120 | Isle of Wight County | Suffolk | V | S - follows Suffolk's lead on conservation. | 1,284 |
| 3095490 | JCSA Central | wells | N | B - No restrictions at this time. | 44,760 |
| 3149700 | Puddledock Road (Prince George County) | ARWA | N | B - Lifted restrictions on 12/28/07. | 6,525 |
| 3550050 | Chesapeake - Western Branch system | City of Portsmouth | V | S -This portion of the city is consecutive to (receives water from) the city of Portsmouth. City Council voted to go to voluntary conservation city-wide - it took effect on 24 Oct 2007. Still following Portsmouth's lead on conservation. | 36,381 |
| 3550051 | Chesapeake | Northwest River, City of Norfolk Raw Water (Lake Gaston) | V | S - City Council voted to go to voluntary conservation city-wide - took effect on 24 Oct 2007. Chlorides have lowered in river. Water level is not affected - river is tidally influenced. Waterworks testing use of alternate source (In Town Lakes) in case Norfolk unable to supply Lake Gaston WTP. | 105,525 |
| 3550052 | Chesapeake - South Norfolk system | City of Norfolk | V | S - This portion of the city is consecutive to (receives water from) the city of Norfolk. City Council voted to go to voluntary conservation city-wide - it took effect on 24 Oct 2007. Still following Norfolk's lead on conservation. | 33,602 |
| 3570150 | Colonial Heights | ARWA | N | B - Lifted restrictions on 12/1/07. | 17,286 |
| 3595250 | Emporia | Meherrin River | N | S - Water is going over the dam. | 5,600 |
| 3670800 | Virginia-American Water Company (Hopewell) | Appomattox & James Rivers | N | S - Raw water quality is biggest concern at this time as higher salinity is reaching the intake from the Bay. | 25000 - Primary / 42463 Total including Consecutive System (Ft. Lee) |
| 3700500 | Newport News | Chickahomony River, Skiffs Creek, Diascand, Little Creek, Harwoods Mill, Lee Hall | N | B - reservoir levels are rising (1-15-08 at 77.5% full [up six % points]); waterworks still cautious, but feels the winter weather will allow the reserviors to refill. | 406,000 |
| 3710100 | Norfolk | Lake Prince, Lake Burnt Mills, Western Branch reservoir, Nottoway River, Blackwater River, 4 western wells; Little Creek reservoir, Lakes Smith, Lawson, Whitehurst, and Wright. Lake Gaston. | V | B - As of 01/14, reservoirs at 88.0% (up from 82.3% on 12/17). Historic reservoir capacity is 87.5%. Avg. pumping: Lake Gaston = 44.3 MGD; Blackwater River = 0 MGD; Nottoway River = 16.9 MGD; Deep wells = 3.82 MGD; Spillway elev.: Western Branch -3.0 ft; Lake Prince 0.1 ft; Burnt Mils -3.8 ft; Lake Wright 0 ft; Lake Smith +0.3 ft; Blackwater River +7.3 ft; Nottoway River +7.3 ft. Called for voluntary conservation 11/1/07. | 261,250 - Primary / 755,617 - Total including consecutive systems (Va Beach + military bases). |
| 3730750 | Petersburg | ARWA | N | B - Lifted restrictions on 1/8/08. | 39,386 |
| 3740600 | Portsmouth | Lakes Cohoon, Meade, Kilby, and Speights Run | V | B - As of 01/11, reservoirs at 97% (up from 86% on 12/17). Median reservoir capacity is 100%, average capacity is 92% (period of 1969-2006). Both emergency wells are OFF. Estimated 239 days of reservoir storage remaining at current pumpage and no rainfall, up from 209 days on 12/17. Called for voluntary conservation on 10/10/07. | 100,400 - Primary / 120,400 Total including consecutive systems (military bases) |
| 3800805 | Suffolk | Lone Star Lakes, Cumps Mill Pond | V | S - Will follow Portsmouth's lead and the region as far as conservation. As of 01/16/08-Reservoir levels look good. Crumps Mill Pond @ 15.6 ft (high) and Lone Star Lakes at 7.9 ft (normal). | 62,562 |
| 3810900 | Virginia Beach | Norfolk | V | B - obtains water from Norfolk. Called for voluntary conservation on 9/19/07. | 423,743 |
| 4041035 | APPOMATTOX RIVER WATER AUTHORITY | Surface water; Lake Chesdin | N | Wholesaler to Chesterfield County, Prince George County, Dinwiddie County; Cities of Petersburg and Colonial Heights. Low water levels; mandatory & voluntary restrictions in place. | 200,000 |
| 4041845 | CHESTERFIELD CO CENTRAL WATER SYSTEM | Surface water; Swift Creek reservoir; purchases finished water | N | In effect Monday, Oct. 15. purchases water from the City of Richmond and the Appomattox River Water Authority. | 263,000 |
| 4057800 | TAPPAHANNOCK, TOWN OF | Groundwater wells | N |  | 2,100 |
| 4073311 | GLOUCESTER CO WATER TREATMENT PLT | Surface water, Beaverdam reservoir; 2 deep groundwater wells | N | Reservoir at 100%. | 8,870 |
| 4075283 | EASTERN GOOCHLAND CENTRAL WATER SYSTEM | Purchased surface water | N | purchases water from Henrico County | 2,500 |
| 4075735 | JAMES RIVER CORRECTIONAL CTR | Surface water; James River | N |  | 9,300 |
| 4085398 | HANOVER SUBURBAN WATER SYSTEM | Surface water; North Anna River; some groundwater wells; purchases finished water | N |  | 71,000 |
| 4085770 | SPRING MEADOWS-MEADOW GATE | Groundwater wells | N |  | 2,300 |
| 4087125 | HENRICO COUNTY WATER SYSTEM | Surface water; James River | N | Similar to City of Richmond | 289,000 |
| 4101900 | WEST POINT, TOWN OF | Groundwater wells | N |  | 3,000 |
| 4127110 | DELMARVA PROPERTIES | Groundwater wells | V | New Kent Co. encourages conservation. Still in place. | 7,700 |
| 4145675 | POWHATAN COURTHOUSE | Groundwater wells | N |  | 2,600 |
| 4193280 | COLONIAL BEACH, TOWN OF | Groundwater wells | N |  | 3,300 |
| 4760100 | RICHMOND, CITY OF | Surface water; James River | N | Slightly improved (but still below normal) water levels in the James River; under James River Regional Flow Management Plan; counties of Henrico, Chesterfield, Goochland, and Hanover counties purchases water from the City. | 197,000 |
| 5515050 | City of Bedford | Stoney Creek Reservoir and Wells 1 to 5 | N | B - water level in reservoir back to normal | 6,946 |
| 5143210 | Town of Gretna | Georges Creek Res | N | B | 2,500 |
| 5029085 | Buckingham County | Troublesome Creek Reservoir | N | S - The water level is about 1.5 inches over the spillway | 5,751 |
| 5037300 | Town of Keysville | Keysville Reservoir | N | S | 800 |
| 5083550 | Town of Halifax | Bannister River Reservoir | N | S | 1,389 |
| 5780600 | Town of South Boston | Dan River | N | S | 9,726 |
| 5141640 | Town of Stuart | South Mayo River | N | S | 1,500 |
| 5147170 | Town of Farmville | Appomattox River | N | S | 7,011 |
| 5011050 | Town of Appomattox | Wells | V | S - The Town has noted a significant water level drop in many of their wells. The town is actively looking for additional groundwater sources. | 1,708 |
| 5031150 | Campbell County Central System | Big Otter River | N | B - stream flow at 72 cfs (well above plant capicity) and they also have an interconnection with Lynchburg. | 20,000 |
| 5025450 | Town of Lawrenceville | Great Creek (with upstream reservoir) | N | B - reservoir holding steady at normal level | 4,806 |
| 5135160 | Town of Crewe | Crystal Lake | N | B | 3,500 |
| 5111450 | Town of Kenbridge | Flat Rock Creek and Offstream Reservoir | N | B Reservoir water level has returned to normal. | 1,400 |
| 5067785 | Ridgscrest | Wells | N | B - no longer hauling water | 52 |
| 5067265 | Hales Point | Wells | V | B - system still hauling in some water to meet demand. | 46 |
| 5067937 | Stripers Landing | Wells | N | B | 125 |
| 6033425 | Lake Caroline | Lake Caroline | N | S - Lake level is steady | 3,370 |
| 6047070 | Emerald Hill Elementary School | Groundwater | N | B - Well EHS-3 is onstream at a reliable production rate of 12 gpm. Well 1 has been reworked for improved production. Water hauling is no longer needed. | 977 |
| 6047500 | Town of Culpeper | Lake Pelham | M | B - Lake Pelham surface was 11 " below the overflow on 1/14/08. Town is on mandatory water use restriction until Lake Pelham reaches the overflow. | 14,200 |
| 6059501 | Fairfax County Water Authority | Potomac River and Occoquan Reservoir | V | B - Fairfax Water has reduced withdrawals to about 75 MGD from Potomac River, limited by half of Corbalis WTP out of service (scheduled outages for construction of tie-ins), with the balance taken from Occoquan Reservoir. Potomac River flows have increased due to recent rains. Occoquan Reservoir is 100% full. FW is providing additional water to Prince William County Service Authority to make-up for supply and treatment cut-backs by the City of Manassas. Metro Washington area-wide voluntary conservation went into effect 10/3/07. | 823,216 |
| 6061200 | Town of Marshall | Groundwater | M | S - Well production not capable of meeting demands, including significant system leakage. Water being hauled in at approx 25,000 gpd. Owner (FCWSA) has performed some well work and is considering water line repairs/replacement and addition of new sources and storage. As of 1/14/08, no change in status. | 2,134 |
| 6061600 | Town of Warrenton | Reservoir on Cedar Run and groundwater | M | S - Warrenton Reservoir surface elevation is at 440.1 feet vs full level at 445.3 feet. Reservoir level has been steady for the past 4 days up to 1/14/08 | 11,160 |
| 6107150 | Town of Hamilton | Groundwater | V | S | 2,000 |
| 6107200 | Town of Hillsboro | Spring/Well | M | B - Flow in spring and well have increased and seems adequate to meet demand, except for one day in December. A leak in the distribution system is suspected. Arrangements have been made to haul water, but this has not been necessary. | 58 |
| 6107221 | LCSA Lenah Farms | Groundwater | V | S | 810 |
| 6107300 | Town of Leesburg | Potomac River | N | S - Potomac River supply is adequate | 37,000 |
| 6107350 | Loudoun County Sanitation Authority | Purchase treated surface water from FCWA (Potomac River) and City of Fairfax (Goose Creek Reservoir) | M | S - Recent rains maintaining flow in Goose Creek, sufficient for 6 MGD treatment rate. LCSA moving water from 410 zone to 438 zone via pump station. | 167,904 |
| 6107400 | Town of Lovettsville | Groundwater | V | S | 1,280 |
| 6107450 | Town of Middleburg | Groundwater | M | S - Mandatory Water Use Restrictions in place 10/11/07 | 590 |
| 6107600 | Town of Purcellville | Hirst Reservoir and groundwater | M | S -- Recent rains sufficient to increase water level in reservoir slightly, reservoir remains about 1/3 full. Reduced temperatures have reduced demand. Wells are being closely monitored and production remains consistent without any impacts from drought thus far. Town has reportedly reached agreement to purchase groundwater from nearby approved wells for use in surface water treatment plant. | 6,300 |
| 6107650 | Town of Round Hill | Groundwater | M | S | 3,156 |
| 6113200 | Town of Madison | White Oak Run | N | S -- Stream flow remains adequate to meet normal demands. | 778 |
| 6137300 | Rapidan Service Authority - Rt. 15 | Purchase treated surface water from Town of Orange (Rapidan River) | N | S - 1/14/08 - Town of Orange raw water availability is well above minimum. | 273 |
| 6137400 | Town of Gordonsville | Purchase treated surface water from RSA and Town of Orange | N | S--No water use restrictions are in place. | 1,800 |
| 6137500 | Town of Orange | Rapidan River | V | S - 1/14/08 - Fourteen day running average of Rapidan River flow is 165 cfs (withdrawal restrictions are imposed below 44 cfs) Offstream raw water reservoir is full. | 4,500 |
| 6137999 | Rapidan Service Authority - Wilderness and Lake of the Woods | Rapidan River | N | Rapidan River flow has been steady at an adequate level. | 11,331 |
| 6153260 | Woodbridge Mobile Home Park | Groundwater | M | S -- Waterworks continues to have episodes of low pressure due to inadequate sources and leaks in the distribution system. This problem is indirectly related to drought as source problems existed previously. | 320 |
| 6153675 | Quantico Marine Corps Base - Mainside | Breckenridge, Lunga, and Gray Reservoirs | N | S | 14,525 |
| 6600100 | City of Fairfax | Goose Creek Reservoir | V | B -- Adequate flows coming down Goose Creek. WTP is producing approx 6 MGD with approx 1 mgd of the treated water going to LCSA, balance to the City. No longer purchasing water from FCWA. Pumping into Beaver Dam Reservoir, which has risen about five feet due to pumping plus recent rains. Reservoir is still about 15 feet below full. | 45,000 |
| 6685100 | City of Manassas | Lake Manassas | M | B -- Mandatory restrictions went into effect 10/25/07. Water level in Lake Manassas has risen about two feet to about nine feet below the spillway due to recent rains. Withdrawals from Lake Manassas remain at about 5 - 6 mgd. Wholesale customers PWCSA and Manassas Park are not taking water from the City and are obtaining water from FCWA. | 37,000 |
| 6177280 and 6177300 | Spotsylvania County | Motts Run Reservoir, Rappahannock River, Ni River Reservoir, and Hunting Run Reservoir (Rapidan River off-stream reservoir) | N | S | 37,506 |
| 6179100 and 6179775 | Stafford County | Smith Lake and Abel Lake | M | B -- Marginally better. Mandatory restrictions went into effect 9/17/07 and were increased on 10/8/07. Currently remain on mandatory restriction. | 53,086 |
| Notes of interest: |  |  |  |  |
| (1) Metropolitan Washington Council of Governments issued a region-wide voluntary conservation advisory on 10/3/07, covering DC, Maryland, and Northern Virginia. |
| (2) Interstate Commission on the Potomac River Basin (ICPRB) gathers meterological, drought, and water supply data from all of the |
| major water suppliers in the Metro Washington area and determines the need for upstream reservoir releases, if any, to augment the flow |
| in the Potomac River for water supply withdrawal. ICPRB has predicted that releases from upstream reservoirs will likely not be needed for the Fall and Winter. |

APPENDIX F

APPENDIX G

Drought Watch -- USGS State Information on Drought

Map of below normal 7-day average streamflow

APPENDIX H

Virginia Climate Response Network

January 21, 2008